## Slide 1: Introduction to TOPAS MVLinac example
Kyungdon Choi
2022. 12. 05.

## Slide 2
Index
TOPAS introduction
2. Components (Siemens Oncor)
3. Treatment head simulation
4. TOPAS external code

## Slide 3
TOPAS introduction
TOPAS -> GEANT 4 wrapper for proton therapy
Application: Proton therapy, conventional radiation therapy, Positron Emission Tomography and etc.
Easy to generate geometry: Support basic shapes as well as external expansions
No user fee for academic users, NIH is currently funding for TOPAS academic users

## Slide 4
TOPAS introduction
How to get access to TOPAS
  Register as a user at http://www.topasmc.org/home
  Wait until TOPAS introduction (online) course is open
  Attend the TOPAS introduction course when it is open (Usually morning in pacific time and dawn in Korea time)
  Login to TOPAS page and download lastest (or proper) version for your system

## Slide 5
Components
Electron Beam
Target
Primary collimator
Primary collimator
Detector and mirror
Jaws
Multi leaf collimator

## Slide 6
Components
Electron Beam
LINAC: Accelerate electron
270 degree bending magnet
Target

## Slide 7
Components
Target
Vacuum
Exit window

## Slide 8
Components
Target
Target

## Slide 9
Components
Primary Collimator
Primary Collimator

## Slide 10
Components
Flattening Filter 6MV
Flattening Filter 6MV

## Slide 11
Components
Flattening Filter 18MV

## Slide 12
Components
Detector and Mirror

## Slide 13
Components
Jaws
Jaws

## Slide 14
Components
MLC

## Slide 15
Treatment head simulation
All geometries are correspond to IEC 61217

## Slide 16
Treatment head simulation

## Slide 17
TOPAS external code
Jaws and MLC dev
Generator
Destructor
Parameter update

## Slide 18
TOPAS external code
Jaws and MLC dev

## Slide 19
TOPAS external code
Jaws and MLC dev