## Slide 1: DMAG Workshop 2026-02-11
Quantum Sensing
Sergey Uchaikin

## Slide 2: QS goals
Support and update test facility based on BF4
Provide QNL amplifiers for axion experiments
Development new read-outs for future experiment
Publishing

## Slide 3: JPA testing facilities update
Work on reliability of test bench based on BF4. The most loaded fridge, most often thermocycles, rearrangement of components and lines.
Fixed:
DC fridge Lines. Bad quality of soldering (outsource) of NbTi wires– fixed.
  60 of 64 differential lines on the MXC - done
  24 differential lines on the 4K – done
  2) Cryocooler HEMT Amplifier test setup
  3) New 4-channel noise source for BF4 – take small space.

## Slide 4: New NS

## Slide 5: Testing facilities update-2
Channel | 4K | MXC
1 | 4-8 GHz amps/components | 4-12 GHz amps/components
2 | 2.5-4 GHz amps/components | 2.5-4 GHz amps/components
3 | 1.7-2.1 GHz amps/components | 1.7-2.1 GHz amps/components
RF channels

## Slide 6: JPAs
FD JPA – since Arjan left Japan, new relation was established (Chih-Chiao). First run was done for the range 2-3 GHz. It repeat Arjan's design.
RIKEN works on custom documentation to send it to us.
Support:
2 JPA (for BF5 and BF3 experiment)
Fixed problem with BF5 and BF6 JPA, thermalization of Gemini and magnetic shielding.
Leo 1.2-1.5 was re-tested in BF4 and mounted in 12TB

## Slide 7: New frequency ranges were covered with FD JPA
3.42 (3.3)-3.65 GHz
4.3-5.3 GHz

## Slide 8: L-JPAs
L JPA - Arjan design with bridges, very sensitive for transportation. In >100 times less sensitive to dc flux bias. Check 7 of them, only 2 is working. One of them characterized by Minsu, the second is under the test now.
New postdoc (Chih-Chiao) agreed to make new design of L JPA. Need to reduce Ibias > then 10 times (better 50). More reliable bridges (vias?).

## Slide 9: FD JPA vs L-JPA

## Slide 10: L-JPA tunable range

## Slide 11: New L-JPA
3.6 -4.85 GHz
In the cavity range of 4.1-4.4 GHz

## Slide 12: Thermometer calibration setup
A setup to calibrate up to 4 thermometers in BF4 was prepared. As a reference BF thermometer is used. The first calibration run is done, 3 thermometer tested.
Will work on set a permanent setup.

## Slide 13: Plan and issues
BF4 – leak in mixture line. Afraid will be worse after moving (Still 1% probability will be better )
Work on HEMT amp noise understanding
Low RF frequency line fix (1.5-2.1 GHz)
2nd RF channel recovering
Program updates
SPD setup in BF4
JPA test
Permanent thermometer calibration setup