## Slide 1: Heterodyne signal detection with bolometers in DMAG
Saebyeok Ahn
Postdoctoral researcher at IBS-DMAG
2026 KPS spring meeting, Daejeon Convention Center

## Slide 2: Axion Haloscopes
Antenna
Analog-digital conversion
Axion field from
galactic dark matter halo
Laboratory magnetic field
Axion induced electric field

## Slide 3: Axion Haloscopes
Axion field from
galactic dark matter halo
Laboratory magnetic field
Axion induced electric field
Microwave cavity

## Slide 4: Axion Haloscopes
Microwave cavity
Resonant mode electric field
(Thermal noise + signal)
Matched antenna
RF amplifier
Signal boosted by the quality factor

## Slide 5
Bolometers and heterodyne signal detection

## Slide 6: Bolometer
Phase-insensitive power detector
(Signal + noise photons)

## Slide 7: Bolometer
Zeptojoule nanobolometer (Aalto university)
Non-linear power detector
Detecting heat dissipation on the film
  With Josephson-junction terminated resonator

## Slide 8: Heterodyne signal detection
Signal mixing in the cavity
Power read from the bolometer
Beating term (heterodyne)
The beating term gives amplitude at frequency (down-converted)

## Slide 9: Bolometer measurements
Probe tone
Signal to detect
Power measurement
Bolometer resonance-frequency measurement

## Slide 10: Input power dependence
Bolometer
Resonance probe
Heater power
Calibration curve
Heater tone at 5.5 GHz
Sweeping amplitude ([-10, 20] dBm)
Map the resonance curve

## Slide 11: Bolometer measurements

## Slide 12: Bolometer measurements
Noise jitter + signal

## Slide 13: Bolometer measurements
Resonance analysis, plotting with time
Noise jitter + signal

## Slide 14: Bolometer measurements
Nyquist frequency
Fourier-analyzed bolometer resonance samples
Pulse-tube (4 K cooler) induced

## Slide 15: Bolometer measurements
Nyquist frequency
Fourier-analyzed bolometer resonance samples
Pulse-tube (4 K cooler) induced
Bandwidth limit: 1/τ (bolomter time-const.)
  Higher frequencies will be dissipated as DC offset
  Reduced amplitude
Problem: high dark count in bolometer (bandwidth, thermal input)

## Slide 16: Bolometer measurements
Bolometer
Resonance probe
Coherent pump
fp
+
Test
Signal
fs = fp + Δ

## Slide 17: Bolometer measurements
Bolometer
Resonance probe
Coherent pump
fp
+
Test
Signal
fs = fp + Δ
Mixed together (power-conversion)
- Beating term created, heterodyne detection

## Slide 18: Bolometer measurements
Test signals
Test signals
Signal offset [-5, 5] Hz with 1 Hz step
Downmixing happens at the bolometer
Beating signal detected at higher amplitudes

## Slide 19: Bolometer measurements
With different reference tone power
Heater at 5.5 GHz
Test tone at 5.5 GHz + 2 Hz
Sweeping the heater power
Noise limit
Signal amplified relative to system noise
Test signal amplitude vs. pump amplitude
  Relative to noise amplitude
SNR gets enhanced, plateaued at high pump amplitude
  Thermal noise dominates (input)

## Slide 20: Bolometer measurements
With different reference tone power
Heater at 5.5 GHz
Test tone at 5.5 GHz + 2 Hz
Sweeping the heater power
Noise limit
Signal amplified relative to system noise
Test signal amplitude vs. pump amplitude
  Relative to noise amplitude
SNR gets enhanced, plateaued at high pump amplitude
  Thermal noise dominates (input)
Same plot, log scale
Thermal constant
Test signal

## Slide 21: Challenges and solutions
Bolometer’s time constant: fundamental band-limit in intermediate frequency
  More samples to be tested; more samples to be delivered
Double-sideband noise
  3 dB SNR loss from image noise
  I/Q demodulation with two bolometers / 90 degrees hybrid pumps
    Gorynich JPA holders at CAPP → good synergy with the proposed design
Systematic bolometer resonance readout
  Frequency-comb probe + fast digitizer

## Slide 22
Thank you very much!